TBD Tags

The software shall provide a bolus feature which generates boluses in the range of 0.01 to 25 units, which an increment of 0.01 units.

[PUMP:TBD:1]

* BOLUS:SRS:2