Orphan Report

PUMP:RISK:10

The pump shall deliver no bolus larger than 25 units.

PUMP:RISK:10 is an orphan tag

PUMP:RISK:20

The pump shall deliver no basal rate larger than 15 units/hr.

PUMP:RISK:20 is an orphan tag

PUMP:RISK:30

The bolus calculator shall provide reverse correction.

PUMP:RISK:30 is an orphan tag

PUMP:RISK:40

The pump shall display remaining battery charge.

PUMP:RISK:40 is an orphan tag

PUMP:RISK:50

The pump shall display remaining insulin volume.

PUMP:RISK:50 is an orphan tag